**Get Lighting Override (Unicast)**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightingOverride",

"Parameters": {

“CommandType”:”Get”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightingOverride",

"Parameters": {

“CommandType”:”Get\_Ack”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“LightingControl”:”Auto”

}

}

**Set Lighting Override (Unicast)**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "SmartLighting/setLightingOverride",

"Parameters": {

“CommandType”:”Set”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“LightingControl”:”Auto”

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/setLightingOverride",

"Parameters": {

“CommandType”:”Set\_Ack”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“LightingControl”:”Auto”

}

}

**Get Lighting Override (Multicast)**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightingOverride",

"Parameters": {

“CommandType”:”Get”,

“Transmission”:”Multicast”,

“ConfigurationZone”:1

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightingOverride",

"Parameters": {

“CommandType”:”Get\_Ack”,

“Transmission”:”Multicast”,

“ConfigurationZone”:1,

“LightingControl”:”Auto”

}

}

**Set Lighting Override(Multicast)**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "SmartLighting/setLightingOverride",

"Parameters": {

“CommandType”:”Set”,

“Transmission”:”Multicast”,

“ConfigurationZone”:1,

“LightingControl”:”Auto”

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/setLightingOverride",

"Parameters": {

“CommandType”:”Set\_Ack”,

“Transmission”:”Unicast”,

“ConfigurationZone”:1,

“LightingControl”:”Auto”

}

}

**Get Lighting Override (Broadcast)**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightingOverride",

"Parameters": {

“CommandType”:”Get”,

“Transmission”:”Broadcast”,

“ConfigurationZone”:0

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightingOverride",

"Parameters": {

“CommandType”:”Get\_Ack”,

“Transmission”:”Broadcast”,

“ConfigurationZone”:0,

“LightingControl”:”Auto”

}

}

**Set Lighting Override (Broadcast)**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "SmartLighting/setLightingOverride",

"Parameters": {

“CommandType”:”Set”,

“Transmission”:”Broadcast”,

“ConfigurationZone”:0,

“LightingControl”:”Auto”

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/setLightingOverride",

"Parameters": {

“CommandType”:”Set\_Ack”,

“Transmission”:”Broadcast”,

“ConfigurationZone”:0,

“LightingControl”:”Auto”

}

}

**Get Lighting Zone**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightingZone",

"Parameters": {

“CommandType”:”Get”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightingZone",

"Parameters": {

“CommandType”:”Get\_Ack”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“NumberOfZone”:2,

“LightingZones”:[

{

“ZoneId”:10,

},

{

“ZoneId”:15,

},

]

}

}

**Set Lighting Zone**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/setLightingZone",

"Parameters": {

“CommandType”:”Set”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“NumberOfZone”:2,

“LightingZones”:[

{

“ZoneId”:10,

},

{

“ZoneId”:15,

},

]

}

}

**Response**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/setLightingZone",

"Parameters": {

“CommandType”:”Set\_Ack”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“NumberOfZone”:2,

“LightingZones”:[

{

“ZoneId”:10,

},

{

“ZoneId”:15,

},

]

}

}

**Get Trigger Zone**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getTriggerZone",

"Parameters": {

“CommandType”:”Get”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getTriggerZone",

"Parameters": {

“CommandType”:”Get\_Ack”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“NumberOfZone”:2,

“TriggerZones”:[

{

“ZoneId”:10,

},

{

“ZoneId”:15,

},

]

}

}

**Set Trigger Zone**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/setTriggerZone",

"Parameters": {

“CommandType”:”Set”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“NumberOfZone”:2,

“TriggerZones”:[

{

“ZoneId”:10,

},

{

“ZoneId”:15,

},

]

}

}

**Response**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/setTriggerZone",

"Parameters": {

“CommandType”:”Set\_Ack”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“NumberOfZone”:2,

“TriggerZones”:[

{

“ZoneId”:10,

},

{

“ZoneId”:15,

},

]

}

}

**Get Light Intensity**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightIntensity",

"Parameters": {

“CommandType”:”Get”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/getLightIntensity",

"Parameters": {

“CommandType”:”Get\_Ack”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“DimIntensity”:20,

“BrightIntensity”:80

}

}

**Set Light Intensity**

**Command**

{

"SenderId": "Backend",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "SmartLighting/setLightIntensity",

"Parameters": {

“CommandType”:”Set”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“DimIntensity”:20,

“BrightIntensity”:80

}

}

**Response**

{

"SenderId": "LightingSystem-AZTECH-820421-GATEWAY",

"SensorId": "LightingSystem-AZTECH-820421-1.2.3",

"Resourcepath": 820421,

"EventId": "EV-820421-1.2.3-20200530212050123",

"EventType": "LightingSystem/setLightIntensity",

"Parameters": {

“CommandType”:”Set\_Ack”,

“Transmission”:”Unicast”,

“ConfigurationZone”:0,

“DimIntensity”:20,

“BrightIntensity”:80

}

}

**Get Soft Dimming**

**Command**

**Response**

**Set Soft Dimming**

**Command**

**Response**

**Get Time Delay**

**Command**

**Response**

**Set Time Delay**

**Command**

**Response**

**Get Light Install Date**

**Command**

**Response**

**Set Light Install Date**

**Command**

**Response**

**Get Motion Sensitivity**

**Command**

**Response**

**Set Motion Sensitivity**

**Command**

**Response**

**Get Photo Sensing**

**Command**

**Response**

**Set Photo Sensing**

**Command**

**Response**

**Get Rain Sensing**

**Command**

**Response**

**Set Rain Sensing**

**Command**

**Response**

**Get Proximity Lighting**

**Command**

**Response**

**Set Proximity Lighting**

**Command**

**Response**

**Get Predictive Lighting**

**Command**

**Response**

**Set Predictive Lighting**

**Command**

**Response**

**Get Timer Profile**

**Command**

**Response**

**Set Timer Profile**

**Command**

**Response**

**Get Dimming Profile**

**Command**

**Response**

**Set Dimming Profile**

**Command**

**Response**

**Get Luminance Profile**

**Command**

**Response**

**Set Luminance Profile**

**Command**

**Response**

**Get Daylight Profile**

**Command**

**Response**

**Set Daylight Profile**

**Command**

**Response**

**Get Rain Profile**

**Command**

**Response**

**Set Rain Profile**

**Command**

**Response**

**Get Daylight Harvesting Profile**

**Command**

**Response**

**Set Daylight Harvesting Profile**

**Command**

**Response**

**Activate Light Test**

**Command**

**Response**

**Get Light Test Schedule**

**Command**

**Response**

**Set Light Test Schedule**

**Command**

**Response**

**Get Light Status**

**Command**

**Response**

**Set Light Status**

**Command**

**Response**

**Start ELight Test**

**Command**

**Response**

**Stop ELight Test**

**Command**

**Response**

**Get ELight Auto Test**

**Command**

**Response**

**Set ELight Auto Test**

**Command**

**Response**

**Get ELight Test Schedule**

**Command**

**Response**

**Set ELight Test Schedule**

**Command**

**Response**

**Get ELight Test Result**

**Command**

**Response**