**Get Lighting Override**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getLightingOverride",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getLightingOverride",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":24,

"payload":{

"LightingControl":"Auto"

}

}

}

**Set Lighting Override**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setLightingOverride",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":24,

"payload":{

"LightingControl":"Auto"

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setLightingOverride",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":24,

"payload":{

"LightingControl":"Auto"

}

}

}

**Get Lighting Zone**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getLightingZone",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getLightingZone",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":41,

"payload":{

"NumberOfZone":2,

"LightingZones":[10,15]

}

}

}

**Set Lighting Zone**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setLightingZone",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":41,

"payload":{

"NumberOfZone":2,

"LightingZones":[10,15]

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setLightingZone",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":41,

"payload":{

"NumberOfZone":2,

"LightingZones":[10,15]

}

}

}

**Get Trigger Zone**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getTriggerZone",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getTriggerZone",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":40,

"payload":{

"NumberOfZone":2,

"TriggerZones":[10,15]

}

}

}

**Set Trigger Zone**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setTriggerZone",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":40,

"payload":{

"NumberOfZone":2,

"TriggerZones":[10,15]

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setTriggerZone",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":40,

"payload":{

"NumberOfZone":2,

"TriggerZones":[10,15]

}

}

}

**Get Light Intensity**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getLightIntensity",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getLightIntensity",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":39,

"payload":{

"DimIntensity":20,

"BrightIntensity":80

}

}

}

**Set Light Intensity**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setLightIntensity",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":39,

"payload":{

"DimIntensity":20,

"BrightIntensity":80

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setLightIntensity",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":39,

"payload":{

"DimIntensity":20,

"BrightIntensity":80

}

}

}

**Get Soft Dimming**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getSoftDimming",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getSoftDimming",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":32,

"payload":{

"RampUpTime":1,

"RampDownTime":2

}

}

}

**Set Soft Dimming**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setSoftDimming",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":32,

"payload":{

"RampUpTime":1,

"RampDownTime":2

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setSoftDimming",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":32,

"payload":{

"RampUpTime":1,

"RampDownTime":2

}

}

}

**Get Time Delay**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getTimeDelay",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getTimeDelay",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":13,

"payload":{

"HoldTime":30

}

}

}

**Set Time Delay**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setTimeDelay",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":13,

"payload":{

"HoldTime":30

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setTimeDelay",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":13,

"payload":{

"HoldTime":30

}

}

}

**Get Light Install Date**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getLightInstallDate",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getLightInstallDate",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":26,

"payload":{

"InstallDate":"01/10/2020"

}

}

}

**Set Light Install Date**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setLightInstallDate",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":26,

"payload":{

"InstallDate":"01/10/2020"

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setLightInstallDate",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":26,

"payload":{

"InstallDate":"01/10/2020"

}

}

}

**Get Motion Sensitivity**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getMotionSensitivity",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getMotionSensitivity",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":21,

"payload":{

"MotionSensitivity":2

}

}

}

**Set Motion Sensitivity**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setMotionSensitivity",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":21,

"payload":{

"MotionSensitivity":2

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setMotionSensitivity",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":21,

"payload":{

"MotionSensitivity":2

}

}

}

**Get Photo Sensing**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getPhotoSensing",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getPhotoSensing",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":77,

"payload":{

"PhotoSensing":"Enable",

"PhotoUpperThreshold":400,

"PhotoLowerThreshold":200

}

}

}

**Set Photo Sensing**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setPhotoSensing",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":77,

"payload":{

"PhotoSensing":"Enable",

"PhotoUpperThreshold":400,

"PhotoLowerThreshold":200

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setPhotoSensing",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":77,

"payload":{

"PhotoSensing":"Enable",

"PhotoUpperThreshold":400,

"PhotoLowerThreshold":200

}

}

}

**Get Rain Sensing**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getRainSensing",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getRainSensing",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":71,

"payload":{

"RainSensing":"Enable",

"RainUpperThreshold":30,

"RainLowerThreshold":5

}

}

}

**Set Rain Sensing**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setRainSensing",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":22,

"datasize":71,

"payload":{

"RainSensing":"Enable",

"RainUpperThreshold":30,

"RainLowerThreshold":5

}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/setRainSensing",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":23,

"datasize":71,

"payload":{

"RainSensing":"Enable",

"RainUpperThreshold":30,

"RainLowerThreshold":5

}

}

}

**Get Proximity Lighting**

**Command**

{

"SeniderId":"Backend",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getProximityLighting",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":24,

"datasize":0,

"payload":{}

}

}

**Response**

{

"SeniderId":"LightingSystem-AZTECH-820421-GATEWAY",

"SensorId":"LightingSystem-AZTECH-820421-1.2.3",

"EventId":"EV-820421-1.2.3-20200530212050123",

"EventType":"LightingSystem/getProximityLighting",

"Parameters":{

"version":1,

"misc":0,

"counter":1,

"zone":1,

"group:"1,

"misc1":0,

"destinationID":1,

"sourceID":1,

"time":"212050123",

"command":25,

"datasize":71,

"payload":{

"LightingControl":"Enable",

"NumberOfNeighbourNode":30

}

}

}

**Set Proximity Lighting**

**Command**

**Response**

**Get Predictive Lighting**

**Command**

**Response**

**Set Predictive Lighting**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**

**Get Something**

**Command**

**Response**

**Set Something**

**Command**

**Response**